## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-24 00:20:00 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.2 | 14.3 | 547.38 | 99.75 | 0 | 0 | 10.41 | 14.6 | 0 | 559.62 | 95.84 | 90.22 | 0 | 0 | 10.16 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.38 | 158.54 | 59.69 | 0 | 0 | 0 | 11.75 | 13.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:19:30 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.4 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.2 | 14.3 | 563.5 | 99.75 | 0 | 0 | 10.41 | 14.6 | 0 | 559.62 | 96.06 | 90.47 | 0 | 0 | 10.16 | 10.28 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.38 | 165.31 | 60.19 | 0 | 0 | 0 | 11.75 | 9.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:19:00 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.2 | 14.3 | 538.88 | 99.75 | 0 | 0 | 10.41 | 14.6 | 0 | 566.25 | 95.97 | 90.72 | 0 | 0 | 10.16 | 9.81 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 162.09 | 61.03 | 0 | 0 | 0 | 11.75 | 10.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:18:30 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.4 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.1 | 14.3 | 561.88 | 99.75 | 0 | 0 | 10.41 | 14.6 | 0 | 559.62 | 96.06 | 90.81 | 0 | 0 | 10.16 | 9.94 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 489.75 | 175.16 | 61.87 | 0 | 0 | 0 | 11.62 | 7.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:18:00 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.4 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.2 | 14.3 | 543.75 | 99.88 | 0 | 0 | 10.41 | 14.6 | 0 | 555.5 | 96.19 | 90.81 | 0 | 0 | 10.16 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.88 | 169.56 | 62.25 | 0 | 0 | 0 | 11.62 | 14.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:17:30 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.2 | 14.3 | 543.75 | 99.88 | 0 | 0 | 10.41 | 14.6 | 0 | 566 | 96.19 | 90.34 | 0 | 0 | 10.16 | 9.94 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 173.74 | 62.88 | 0 | 0 | 0 | 11.62 | 13.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:17:00 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.2 | 14.3 | 557.25 | 99.88 | 0 | 0 | 10.41 | 14.6 | 0 | 566.75 | 95.97 | 90.59 | 0 | 0 | 10.16 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494 | 179.96 | 63.34 | 0 | 1.62 | 0 | 11.62 | 12.18 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:16:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.2 | 14.3 | 548.12 | 99.88 | 0 | 0 | 10.41 | 14.6 | 0 | 569.88 | 96.06 | 90.34 | 0 | 0 | 10.16 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502 | 166 | 63.47 | 0 | 0 | 0 | 11.62 | 14.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:16:00 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.2 | 14.3 | 548.12 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 571.38 | 96.19 | 89.84 | 0 | 0 | 10.28 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.88 | 153.32 | 63.34 | 0 | 0 | 0 | 11.75 | 12.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:15:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.5 | 13.8 | 14.2 | 14.3 | 553.25 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 571.62 | 96.19 | 89.59 | 0 | 0 | 10.28 | 9.94 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 189.79 | 63.72 | 0 | 0 | 0 | 11.75 | 11.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:15:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.1 | 14.3 | 547.62 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 573.75 | 96.31 | 89.97 | 0 | 0 | 10.28 | 9.81 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.88 | 164.52 | 63.84 | 0 | 0 | 0 | 11.75 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:14:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.2 | 14.3 | 542.5 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 565 | 96.44 | 89.59 | 0 | 0 | 10.28 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 172.4 | 64.09 | 0 | 0 | 0 | 11.75 | 10.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:14:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.2 | 14.3 | 548.12 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 565 | 96.31 | 90.09 | 0 | 0 | 10.28 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.88 | 166.5 | 64.69 | 0 | 0 | 0 | 11.62 | 10.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:13:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 549.62 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 569.88 | 96.44 | 89.84 | 0 | 0 | 10.28 | 10.91 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 174.06 | 64.94 | 0 | 0 | 0 | 11.62 | 12.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:13:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.8 | 14.2 | 14.3 | 549.62 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 565 | 96.44 | 89.38 | 0 | 0 | 10.28 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.88 | 167.94 | 65.19 | 0 | 1.88 | 0 | 11.62 | 10.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:12:30 +1H | 14 | 13.5 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 556.25 | 100 | 0 | 0 | 10.53 | 14.6 | 0 | 568 | 96.44 | 89.38 | 0 | 0 | 10.28 | 10.03 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 160.83 | 65.44 | 0 | 0.38 | 0 | 11.75 | 12.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:12:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 552.62 | 100 | 0 | 0 | 10.66 | 14.6 | 0 | 571.12 | 96.44 | 89.25 | 0 | 0 | 10.28 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.62 | 172.78 | 66.28 | 0 | 0 | 0 | 11.62 | 16.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:11:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 564.5 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 572.12 | 96.56 | 87.16 | 0 | 0 | 10.28 | 11.03 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 167.99 | 70.06 | 0 | 0 | 0 | 11.62 | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:11:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 561.38 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 572.12 | 96.44 | 87.41 | 0 | 0 | 10.28 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 179.77 | 71.66 | 0 | 0 | 0 | 11.5 | 12.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:10:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 552.62 | 100 | 0 | 0 | 10.53 | 14.7 | 0 | 563.75 | 96.56 | 88.62 | 0 | 0 | 10.28 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 180.29 | 72.03 | 0 | 0 | 0 | 11.62 | 13.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:10:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 546.5 | 100 | 0 | 0 | 10.66 | 14.6 | 0 | 571.12 | 96.56 | 89.59 | 0 | 0 | 10.28 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 165.71 | 72.28 | 0 | 0 | 0 | 11.5 | 9.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:09:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 546.5 | 100 | 0 | 0 | 10.66 | 14.6 | 0 | 566 | 96.56 | 89.38 | 0 | 0 | 10.28 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 169.88 | 73.12 | 0 | 0 | 0 | 11.62 | 13.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:09:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 557.88 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 566 | 96.69 | 89.97 | 0 | 0 | 10.28 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.62 | 174.71 | 73.12 | 0 | 0 | 0 | 11.5 | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:08:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 537.38 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 564 | 96.69 | 89.59 | 0 | 0 | 10.28 | 10.28 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 170.24 | 73.12 | 0 | 0 | 0 | 11.62 | 9.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:08:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 550.88 | 100 | 0 | 0 | 10.53 | 14.7 | 0 | 564 | 96.69 | 88.88 | 0 | 0 | 10.28 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 170.24 | 73.72 | 0 | 0 | 0 | 11.62 | 14.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:07:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 546.25 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568 | 96.69 | 89.25 | 0 | 0 | 10.28 | 10.03 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 172.82 | 73.84 | 0 | 0 | 0 | 11.62 | 10.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:07:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 554.5 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568.88 | 96.81 | 89.84 | 0 | 0 | 10.28 | 10.28 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 178.49 | 74.47 | 0 | 0 | 0 | 11.5 | 12.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:06:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 548.62 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568.88 | 96.56 | 89.97 | 0 | 0 | 10.16 | 10.28 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 176.6 | 75.06 | 0 | 0 | 0 | 11.5 | 11.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:06:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 548.62 | 100 | 0 | 0 | 10.53 | 14.7 | 0 | 566 | 96.81 | 90.22 | 0 | 0 | 10.28 | 10.66 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 166.72 | 75.31 | 0 | 1.62 | 0 | 11.5 | 9.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:05:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 547.88 | 100 | 0 | 0 | 10.53 | 14.7 | 0 | 568.88 | 96.81 | 90.47 | 0 | 0 | 10.28 | 10.53 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 165.92 | 75.69 | 0 | 0 | 0 | 11.5 | 7.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:05:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 554.5 | 100 | 0 | 0 | 10.53 | 14.7 | 0 | 568.88 | 96.94 | 90.22 | 0 | 0 | 10.28 | 10.28 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.38 | 167.33 | 75.56 | 0 | 0 | 0 | 11.5 | 13.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:04:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 554.5 | 100 | 0 | 0 | 10.53 | 14.7 | 0 | 572.62 | 96.94 | 90.09 | 0 | 0 | 10.16 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.5 | 163.89 | 75.69 | 0 | 0 | 0 | 11.62 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:04:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 557.88 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568.38 | 96.69 | 90.34 | 0 | 0 | 10.16 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 173 | 75.69 | 0 | 1.62 | 0 | 11.62 | 12.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:03:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 562.62 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568.38 | 96.44 | 89.84 | 0 | 0 | 10.28 | 9.94 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 170.14 | 76.06 | 0 | 0 | 0 | 11.62 | 8.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:03:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 558.38 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568 | 96.69 | 89.97 | 0 | 0 | 10.28 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 166.84 | 76.66 | 0 | 0 | 0 | 11.62 | 14.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:02:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 558.38 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 566.5 | 96.44 | 89.47 | 0 | 0 | 10.28 | 11.03 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.25 | 171.63 | 76.91 | 0 | 0 | 0 | 11.62 | 12.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:02:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 558.38 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 565.25 | 96.69 | 89.47 | 0 | 0 | 10.28 | 11.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.25 | 164.95 | 76.78 | 0 | 1.88 | 0 | 11.62 | 11.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:01:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 554.75 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 562.88 | 96.56 | 91.19 | 0 | 0 | 10.28 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 488.38 | 170.57 | 76.91 | 0 | 1.38 | 0 | 11.62 | 11.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:01:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 554.75 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 566.5 | 96.31 | 90.94 | 0 | 0 | 10.28 | 10.16 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.25 | 174.31 | 76.78 | 0 | 0 | 0 | 11.62 | 5.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:00:30 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 556.75 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 566.5 | 96.44 | 91.31 | 0 | 0 | 10.28 | 10.41 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 191.63 | 76.66 | 0 | 1.12 | 0 | 11.75 | 9.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-24 00:00:00 +1H | 14 | 13.6 | 14.1 | 13.9 | 14.5 | 14.9 | 13.7 | 14.3 | 13.4 | 13.7 | 14.2 | 14.3 | 557.25 | 100 | 0 | 0 | 10.66 | 14.7 | 0 | 568.62 | 96.44 | 91.06 | 0 | 0 | 10.28 | 11.03 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 174.71 | 76.91 | 0 | 1.38 | 0 | 11.75 | 7.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0