## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-25 00:20:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.4 | 14.1 | 13 | 13.4 | 14 | 14.1 | 539.38 | 86.91 | 0 | 0 | 9.44 | 14.4 | 0 | 556.75 | 81.78 | 79.47 | 0 | 0 | 8.59 | 8.81 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 235.69 | 63.59 | 0 | 0 | 0 | 9.06 | 7.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 50 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:20:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.4 | 14.1 | 13 | 13.4 | 14 | 14.1 | 546 | 86.56 | 0 | 0 | 9.44 | 14.4 | 0 | 560.38 | 82.28 | 78.5 | 0 | 0 | 8.69 | 8.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 236.29 | 63.59 | 0 | 1.38 | 0 | 9.06 | 8.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:19:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.4 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 546 | 86.19 | 0 | 0 | 9.44 | 14.4 | 0 | 560.38 | 82.53 | 76.53 | 0 | 0 | 8.69 | 8.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.75 | 242.15 | 63.13 | 0 | 0 | 0 | 9.19 | 6.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:19:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13 | 13.4 | 14 | 14.1 | 539.38 | 85.94 | 0 | 0 | 9.44 | 14.4 | 0 | 560.38 | 82.66 | 78.5 | 0 | 0 | 8.81 | 8.59 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491 | 222.19 | 62.88 | 0 | 0 | 0 | 9.31 | 5.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:18:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 541.12 | 85.69 | 0 | 0 | 9.44 | 14.4 | 0 | 560.38 | 83 | 80.81 | 0 | 0 | 8.81 | 9.19 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 222.19 | 63.34 | 0 | 0 | 0 | 9.31 | 4.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:18:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.4 | 14.1 | 13.1 | 13.4 | 14 | 14.2 | 535 | 85.34 | 0 | 0 | 9.44 | 14.4 | 0 | 569.38 | 81.66 | 80.22 | 0 | 0 | 8.81 | 8.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491 | 222.19 | 64.56 | 0 | 0 | 0 | 9.19 | 3.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 60 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:17:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 535 | 85.09 | 0 | 0 | 9.44 | 14.4 | 0 | 557.25 | 81.06 | 79.09 | 0 | 0 | 8.81 | 8.81 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.75 | 222.19 | 65.31 | 0 | 0 | 0 | 9.06 | 2.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 70 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:17:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 533.5 | 84.97 | 0 | 0 | 9.44 | 14.4 | 0 | 563.25 | 79.84 | 77.75 | 0 | 0 | 8.81 | 8.81 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 222.19 | 64.47 | 0 | 0 | 0 | 9.19 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 70 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:16:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 541.12 | 84.72 | 0 | 0 | 9.56 | 14.4 | 0 | 552.75 | 80.22 | 77.62 | 0 | 0 | 8.81 | 8.47 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 222.19 | 63.72 | 0 | 1.38 | 0 | 9.31 | 0.56 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 70 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:16:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 536.75 | 84.47 | 0 | 0 | 9.56 | 14.4 | 0 | 553.75 | 80.69 | 77.41 | 0 | 0 | 8.81 | 9.06 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 222.19 | 63.22 | 0 | 0 | 0 | 9.31 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:15:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.1 | 536.75 | 84.47 | 0 | 0 | 9.69 | 14.4 | 0 | 564 | 81.66 | 79.72 | 0 | 0 | 8.94 | 8.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 222.19 | 63.34 | 0 | 1.12 | 0 | 9.44 | 0.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:15:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.4 | 14 | 14.2 | 543.25 | 84.34 | 0 | 0 | 9.81 | 14.4 | 0 | 553.75 | 81.06 | 79.47 | 0 | 0 | 9.06 | 9.44 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 222.19 | 62.88 | 0 | 0 | 0 | 9.44 | 0.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:14:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.1 | 544 | 84.34 | 0 | 0 | 9.81 | 14.4 | 0 | 564 | 79.59 | 79.22 | 0 | 0 | 9.31 | 9.44 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.75 | 222.19 | 62.5 | 0 | 0 | 0 | 9.56 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:14:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.1 | 547.88 | 84.22 | 0 | 0 | 9.81 | 14.4 | 0 | 561.88 | 79.34 | 79.09 | 0 | 0 | 9.31 | 9.06 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 222.19 | 62 | 0 | 1.38 | 0 | 9.69 | 1.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:13:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.1 | 533 | 84.12 | 0 | 0 | 9.94 | 14.4 | 0 | 562.12 | 79.47 | 78.12 | 0 | 0 | 9.31 | 8.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.25 | 222.19 | 61.87 | 0 | 0 | 0 | 9.69 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:13:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.2 | 545.5 | 83.88 | 0 | 0 | 9.94 | 14.4 | 0 | 546.5 | 79.47 | 77.75 | 0 | 0 | 9.31 | 8.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.75 | 222.19 | 61.78 | 0 | 0 | 0 | 9.69 | 1.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:12:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.2 | 551.38 | 84 | 0 | 0 | 10.03 | 14.4 | 0 | 548.88 | 79.47 | 76.78 | 0 | 0 | 9.31 | 8.59 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504.75 | 222.19 | 60.91 | 0 | 0 | 0 | 9.81 | 1.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:12:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.2 | 545.5 | 84.22 | 0 | 0 | 10.03 | 14.4 | 0 | 569.62 | 78.75 | 76.41 | 0 | 0 | 9.19 | 9.06 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.88 | 222.19 | 60.06 | 0 | 0 | 0 | 9.94 | 0.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:11:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.1 | 551.38 | 83.88 | 0 | 0 | 9.94 | 14.4 | 0 | 569.62 | 78.25 | 74.97 | 0 | 0 | 9.31 | 9.31 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.88 | 222.19 | 59.09 | 0 | 0 | 0 | 10.16 | 0.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:11:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.2 | 534 | 83.75 | 0 | 0 | 9.94 | 14.4 | 0 | 570.38 | 77.53 | 73.5 | 0 | 0 | 9.31 | 9.44 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.62 | 222.19 | 58.59 | 0 | 0 | 0 | 10.16 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:10:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.2 | 537.12 | 83.75 | 0 | 0 | 9.94 | 14.4 | 0 | 559.62 | 77.03 | 73.25 | 0 | 0 | 9.31 | 9.31 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 222.19 | 58.22 | 0 | 1.38 | 0 | 10.16 | 1.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:10:00 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.1 | 13.1 | 13.5 | 14 | 14.2 | 537.12 | 83.38 | 0 | 0 | 10.03 | 14.4 | 0 | 550.88 | 78.25 | 73.12 | 0 | 0 | 9.44 | 8.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.88 | 222.19 | 58.59 | 0 | 0 | 0 | 10.16 | 3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:09:30 +1H | 13.9 | 13.4 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.2 | 13.1 | 13.5 | 14 | 14.2 | 528.88 | 83.62 | 0 | 0 | 10.03 | 14.4 | 0 | 558.62 | 78.25 | 73.84 | 0 | 0 | 9.44 | 9.44 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 223.72 | 58.34 | 0 | 1.62 | 0 | 10.16 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:09:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.2 | 13.1 | 13.5 | 14 | 14.2 | 537.12 | 83.5 | 0 | 0 | 10.03 | 14.4 | 0 | 576.25 | 78.5 | 73.62 | 0 | 0 | 9.56 | 9.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 224.12 | 58.34 | 0 | 0 | 0 | 10.16 | 4.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:08:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.2 | 13.1 | 13.5 | 14 | 14.2 | 533.5 | 83.12 | 0 | 0 | 10.03 | 14.4 | 0 | 559.88 | 78.62 | 73.5 | 0 | 0 | 9.69 | 9.81 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 197.26 | 57.75 | 0 | 0 | 0 | 10.28 | 6.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:08:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.2 | 13.1 | 13.5 | 14 | 14.2 | 534.25 | 83.25 | 0 | 0 | 10.16 | 14.4 | 0 | 558.62 | 78.88 | 73.25 | 0 | 0 | 9.69 | 9.56 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 214.67 | 57.75 | 0 | 0 | 0 | 10.41 | 5.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:07:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.2 | 13.1 | 13.5 | 14 | 14.2 | 548.88 | 83.12 | 0 | 0 | 10.03 | 14.4 | 0 | 568.88 | 78.88 | 73.97 | 0 | 0 | 9.69 | 9.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 200.99 | 57.62 | 0 | 1.38 | 0 | 10.41 | 7.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:07:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.5 | 14.2 | 13.1 | 13.5 | 14 | 14.1 | 529.88 | 82.78 | 0 | 0 | 10.03 | 14.4 | 0 | 564.25 | 78.88 | 73.12 | 0 | 0 | 9.81 | 9.81 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.88 | 200.16 | 57.97 | 0 | 0 | 0 | 10.41 | 9.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:06:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.5 | 14 | 14.2 | 533.5 | 82.66 | 0 | 0 | 10.03 | 14.4 | 0 | 565.75 | 79.34 | 73.72 | 0 | 0 | 9.81 | 9.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 228.78 | 57.75 | 0 | 0.62 | 0 | 10.41 | 5.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:06:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.1 | 13.5 | 14 | 14.2 | 534 | 82.53 | 0 | 0 | 9.94 | 14.4 | 0 | 557.88 | 79.34 | 72.38 | 0 | 0 | 9.81 | 9.81 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 177.97 | 57.75 | 0 | 0 | 0 | 10.53 | 9.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:05:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.6 | 14 | 14.2 | 534 | 82.41 | 0 | 0 | 10.03 | 14.4 | 0 | 560.12 | 79.72 | 71.78 | 0 | 0 | 9.94 | 9.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.75 | 185.69 | 57.62 | 0 | 0 | 0 | 10.53 | 8.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 100 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:05:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.6 | 14 | 14.2 | 542.5 | 82.41 | 0 | 0 | 10.03 | 14.4 | 0 | 559.12 | 79.72 | 72.03 | 0 | 0 | 9.94 | 9.69 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.38 | 221.58 | 58.09 | 0 | 0 | 0 | 10.53 | 8.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:04:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.6 | 14 | 14.2 | 542.5 | 82.53 | 0 | 0 | 9.94 | 14.4 | 0 | 560.88 | 78.62 | 67.62 | 0 | 0 | 9.94 | 10.28 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.75 | 186.61 | 58.59 | 0 | 0 | 0 | 10.53 | 12.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:04:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.6 | 14 | 14.2 | 543.75 | 82.66 | 0 | 0 | 9.94 | 14.4 | 0 | 560.88 | 76.66 | 67.88 | 0 | 0 | 9.81 | 10.03 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 185.44 | 58.72 | 0 | 1.62 | 0 | 10.41 | 9.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:03:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.6 | 14 | 14.2 | 546.75 | 82.88 | 0 | 0 | 9.94 | 14.5 | 0 | 556.75 | 78 | 66.66 | 0 | 0 | 9.94 | 10.53 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 194.89 | 58.72 | 0 | 1.12 | 0 | 10.41 | 11.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:03:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.2 | 13.2 | 13.6 | 14 | 14.2 | 546.75 | 83 | 0 | 0 | 9.94 | 14.5 | 0 | 557.75 | 75.06 | 65.56 | 0 | 0 | 9.81 | 10.41 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 179.64 | 58.72 | 0 | 0 | 0 | 10.41 | 9.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:02:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.3 | 13.2 | 13.6 | 14 | 14.2 | 548.12 | 83.12 | 0 | 0 | 9.94 | 14.5 | 0 | 557.75 | 74.72 | 67.38 | 0 | 0 | 9.81 | 9.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493 | 197.08 | 58.72 | 0 | 1.62 | 0 | 10.53 | 8.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:02:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.3 | 13.2 | 13.6 | 14 | 14.2 | 541.88 | 83.25 | 0 | 0 | 9.94 | 14.5 | 0 | 557.75 | 75.69 | 66.91 | 0 | 0 | 9.69 | 9.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 204.26 | 58.59 | 0 | 0 | 0 | 10.53 | 9.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:01:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.3 | 13.3 | 13.6 | 14 | 14.2 | 543.75 | 83.5 | 0 | 0 | 9.94 | 14.5 | 0 | 555.75 | 77.41 | 68.47 | 0 | 0 | 9.81 | 10.41 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.62 | 186.75 | 58.59 | 0 | 0.88 | 0 | 10.53 | 10.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:01:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.3 | 13.3 | 13.6 | 14 | 14.2 | 542.5 | 83.62 | 0 | 0 | 9.94 | 14.5 | 0 | 557.75 | 76.78 | 70.06 | 0 | 0 | 9.81 | 10.03 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 193.23 | 58.59 | 0 | 0 | 0 | 10.53 | 7.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:00:30 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.3 | 13.3 | 13.6 | 14 | 14.2 | 553.75 | 83.62 | 0 | 0 | 9.94 | 14.5 | 0 | 559.62 | 76.19 | 70.44 | 0 | 0 | 9.81 | 10.28 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.62 | 183.42 | 58.22 | 0 | 0 | 0 | 10.66 | 8.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-25 00:00:00 +1H | 13.9 | 13.5 | 14 | 13.8 | 14.3 | 14.7 | 13.6 | 14.3 | 13.3 | 13.6 | 14 | 14.2 | 543.5 | 83.75 | 0 | 0 | 9.94 | 14.5 | 0 | 555.5 | 76.31 | 69.47 | 0 | 0 | 9.81 | 9.94 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.75 | 165.76 | 57.62 | 0 | 0 | 0 | 10.53 | 4.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0