## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-26 00:20:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.5 | 14.8 | 15 | 14.8 | 14.8 | 536.5 | 84.97 | 0 | 0 | 12.25 | 14.7 | 0 | 562.38 | 79.72 | 73.5 | 0 | 0 | 12 | 13.09 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 188.48 | 62.5 | 0 | 0 | 0 | 12.84 | 4.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:20:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.5 | 14.8 | 15.1 | 14.8 | 14.9 | 527.38 | 84.97 | 0 | 0 | 12.38 | 14.7 | 0 | 561.12 | 78.38 | 70.06 | 0 | 0 | 12.12 | 11.62 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 176.38 | 63.59 | 0 | 1.62 | 0 | 12.72 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:19:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.5 | 14.8 | 15.1 | 14.8 | 14.8 | 536.5 | 84.84 | 0 | 0 | 12.38 | 14.7 | 0 | 557.75 | 78.25 | 71.53 | 0 | 0 | 12 | 12.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 200.39 | 64.22 | 0 | 0 | 0 | 12.5 | 12.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:19:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.5 | 14.8 | 15.1 | 14.8 | 14.9 | 527.38 | 84.72 | 0 | 0 | 12.38 | 14.7 | 0 | 551.38 | 80.56 | 71.78 | 0 | 0 | 12 | 12.38 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 188.51 | 63.72 | 0 | 1.12 | 0 | 12.62 | 12.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:18:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.5 | 14.8 | 15.1 | 14.8 | 14.8 | 536.75 | 84.84 | 0 | 0 | 12.38 | 14.7 | 0 | 559.12 | 81.06 | 72.62 | 0 | 0 | 12 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 194.99 | 63.22 | 0 | 0 | 0 | 12.62 | 14.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:18:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 535 | 84.59 | 0 | 0 | 12.38 | 14.7 | 0 | 556 | 81.44 | 73 | 0 | 0 | 12 | 12.62 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 218.5 | 62.88 | 0 | 1.62 | 0 | 12.72 | 13.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:17:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 538.88 | 84.47 | 0 | 0 | 12.38 | 14.7 | 0 | 559.38 | 81.66 | 73 | 0 | 0 | 12 | 13.09 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 221.78 | 62.25 | 0 | 0 | 0 | 12.84 | 15.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:17:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 538.88 | 84.47 | 0 | 0 | 12.38 | 14.7 | 0 | 559.62 | 81.78 | 71.91 | 0 | 0 | 12.12 | 12.62 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 239.02 | 61.78 | 0 | 1.62 | 0 | 12.97 | 12.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:16:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.9 | 535.25 | 84.34 | 0 | 0 | 12.38 | 14.7 | 0 | 564.75 | 81.31 | 71.91 | 0 | 0 | 12.12 | 12.5 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.5 | 230.62 | 61.28 | 0 | 0 | 0 | 13.09 | 13.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:16:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.9 | 14.8 | 535.25 | 84.34 | 0 | 0 | 12.38 | 14.7 | 0 | 559.88 | 80.94 | 70.56 | 0 | 0 | 12.12 | 12.5 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491 | 235.69 | 60.66 | 0 | 0 | 0 | 13.22 | 13.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:15:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.9 | 539.38 | 84.34 | 0 | 0 | 12.38 | 14.7 | 0 | 563.5 | 81.66 | 71.28 | 0 | 0 | 12.12 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 230.54 | 60.19 | 0 | 0 | 0 | 13.34 | 14.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:15:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 531.38 | 84.47 | 0 | 0 | 12.38 | 14.7 | 0 | 557.75 | 81.56 | 70.81 | 0 | 0 | 12.12 | 12.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 488.12 | 231.86 | 60.06 | 0 | 0 | 0 | 13.47 | 11.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:14:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 535 | 84.22 | 0 | 0 | 12.38 | 14.7 | 0 | 552.62 | 80.56 | 69.59 | 0 | 0 | 12.12 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 218.92 | 60.44 | 0 | 0 | 0 | 13.47 | 10.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:14:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.9 | 14.9 | 535 | 84.47 | 0 | 0 | 12.38 | 14.7 | 0 | 550.38 | 80.81 | 68.72 | 0 | 0 | 12.12 | 12 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 507.88 | 186.93 | 60.31 | 0 | 0 | 0 | 13.34 | 14.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:13:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.9 | 14.8 | 539.38 | 84.59 | 0 | 0 | 12.38 | 14.7 | 0 | 547.25 | 79.97 | 69.09 | 0 | 0 | 12.12 | 13.22 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.88 | 222.8 | 60.06 | 0 | 0 | 0 | 13.47 | 6.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:13:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 539.38 | 84.12 | 0 | 0 | 12.38 | 14.7 | 0 | 550.62 | 79.59 | 67.5 | 0 | 0 | 12.12 | 13.34 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 192.96 | 60.19 | 0 | 0 | 0 | 13.47 | 7.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:12:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 544 | 84.12 | 0 | 0 | 12.38 | 14.7 | 0 | 543.75 | 78.88 | 66.53 | 0 | 0 | 12.12 | 12.62 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.62 | 175.86 | 60.19 | 0 | 0 | 0 | 13.34 | 17.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:12:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 542.75 | 84 | 0 | 0 | 12.38 | 14.7 | 0 | 542.5 | 79.97 | 67.62 | 0 | 0 | 12.25 | 13.22 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 186.71 | 60.44 | 0 | 0 | 0 | 13.34 | 12.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:11:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 528.38 | 83.75 | 0 | 0 | 12.5 | 14.7 | 0 | 552.12 | 79.84 | 66.91 | 0 | 0 | 12.25 | 13.22 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 189.74 | 60.44 | 0 | 0 | 0 | 13.34 | 10.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:11:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 541.62 | 83.5 | 0 | 0 | 12.5 | 14.7 | 0 | 543 | 79.09 | 67.62 | 0 | 0 | 12.12 | 13.47 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.12 | 175.9 | 60.66 | 0 | 0.38 | 0 | 13.34 | 11.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:10:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 528.38 | 83.38 | 0 | 0 | 12.5 | 14.7 | 0 | 543 | 81.44 | 68.72 | 0 | 0 | 12.12 | 12.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.75 | 180.38 | 60.66 | 0 | 4.12 | 0 | 13.34 | 12.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:10:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 529.38 | 83.25 | 0 | 0 | 12.5 | 14.7 | 0 | 553 | 80.22 | 68.12 | 0 | 0 | 12.25 | 12.12 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.88 | 174.98 | 61.16 | 0 | 1.12 | 0 | 13.22 | 11.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:09:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 533.75 | 83.25 | 0 | 0 | 12.5 | 14.7 | 0 | 559.88 | 79.09 | 68.25 | 0 | 0 | 12.25 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 181.17 | 61.16 | 0 | 0 | 0 | 13.22 | 17.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:09:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.9 | 525.75 | 83.25 | 0 | 0 | 12.5 | 14.7 | 0 | 553.5 | 77.62 | 67.62 | 0 | 0 | 12.38 | 13.47 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.75 | 192.65 | 61.03 | 0 | 0 | 0 | 13.22 | 16.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:08:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 538.38 | 83.38 | 0 | 0 | 12.5 | 14.7 | 0 | 555 | 77.03 | 66.91 | 0 | 0 | 12.38 | 13.22 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.25 | 188.26 | 60.91 | 0 | 0 | 0 | 13.22 | 12.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:08:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 15 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 534.75 | 83.62 | 0 | 0 | 12.5 | 14.7 | 0 | 562.12 | 77.41 | 67.03 | 0 | 0 | 12.38 | 13.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 487.12 | 183.29 | 61.03 | 0 | 0 | 0 | 13.34 | 10.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:07:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 533.25 | 83.75 | 0 | 0 | 12.5 | 14.7 | 0 | 557.5 | 76.78 | 66.66 | 0 | 0 | 12.5 | 13.22 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 192.38 | 61.03 | 0 | 3.38 | 0 | 13.34 | 11.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:07:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 15 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 528.62 | 84.12 | 0 | 0 | 12.5 | 14.7 | 0 | 562.88 | 74.72 | 65.91 | 0 | 0 | 12.5 | 13.59 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 488.62 | 180.88 | 60.53 | 0 | 0.88 | 0 | 13.34 | 10.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:06:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 526.88 | 84.59 | 0 | 0 | 12.5 | 14.7 | 0 | 547.25 | 74.47 | 66.03 | 0 | 0 | 12.5 | 13.59 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 199.1 | 60.44 | 0 | 1.38 | 0 | 13.47 | 7.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:06:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 534 | 84.84 | 0 | 0 | 12.38 | 14.7 | 0 | 554 | 76.19 | 66.53 | 0 | 0 | 12.25 | 13.09 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.62 | 202.63 | 59.81 | 0 | 0 | 0 | 13.47 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:05:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 539.62 | 85.09 | 0 | 0 | 12.5 | 14.7 | 0 | 551.38 | 76.19 | 67.25 | 0 | 0 | 12.38 | 13.22 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.88 | 214.76 | 59.56 | 0 | 1.62 | 0 | 13.59 | 8.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:05:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 539.62 | 85.09 | 0 | 0 | 12.38 | 14.7 | 0 | 546.75 | 74.59 | 67.88 | 0 | 0 | 12.38 | 13.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 197.12 | 59.81 | 0 | 1.88 | 0 | 13.59 | 10.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:04:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.9 | 526.25 | 85.47 | 0 | 0 | 12.38 | 14.7 | 0 | 548.12 | 75.56 | 69.22 | 0 | 0 | 12.25 | 13.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 188.12 | 59.44 | 0 | 2.88 | 0 | 13.72 | 12.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:04:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 544 | 85.22 | 0 | 0 | 12.38 | 14.7 | 0 | 554 | 76.53 | 70.19 | 0 | 0 | 12.12 | 13.09 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 196.09 | 59.44 | 0 | 2.38 | 0 | 13.72 | 9.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:03:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 543 | 85.09 | 0 | 0 | 12.5 | 14.7 | 0 | 551.62 | 77.88 | 70.44 | 0 | 0 | 12.12 | 12.72 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 184.99 | 60.06 | 0 | 0.62 | 0 | 13.59 | 14.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:03:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 546 | 84.97 | 0 | 0 | 12.5 | 14.7 | 0 | 553 | 79.59 | 69.81 | 0 | 0 | 12.25 | 12.38 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 174.89 | 60.31 | 0 | 0 | 0 | 13.47 | 16.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:02:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 526.25 | 84.97 | 0 | 0 | 12.5 | 14.7 | 0 | 551.12 | 77.53 | 69.59 | 0 | 0 | 12.25 | 12.5 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 166.72 | 60.19 | 0 | 2.62 | 0 | 13.59 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:02:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 544 | 84.84 | 0 | 0 | 12.5 | 14.7 | 0 | 551.38 | 76.31 | 69.47 | 0 | 0 | 12.25 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 166.84 | 60.66 | 0 | 0 | 0 | 13.47 | 13.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:01:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 529.62 | 84.59 | 0 | 0 | 12.5 | 14.7 | 0 | 552.38 | 77.41 | 69.72 | 0 | 0 | 12.25 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.88 | 165.71 | 61.16 | 0 | 1.12 | 0 | 13.47 | 11.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:01:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 15 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 547.62 | 84.72 | 0 | 0 | 12.62 | 14.7 | 0 | 557.25 | 78.25 | 69.59 | 0 | 0 | 12.12 | 13.09 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 171.25 | 60.91 | 0 | 3.12 | 0 | 13.34 | 16.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:00:30 +1H | 14.5 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 538.62 | 84.84 | 0 | 0 | 12.62 | 14.7 | 0 | 556.5 | 78.75 | 67.03 | 0 | 0 | 12.25 | 13.47 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 170.57 | 60.66 | 0 | 0 | 0 | 13.47 | 14.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-26 00:00:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 15 | 15.4 | 14.9 | 15.6 | 14.8 | 15.1 | 14.8 | 14.8 | 539.62 | 85.22 | 0 | 0 | 12.5 | 14.7 | 0 | 548.12 | 77.88 | 66.03 | 0 | 0 | 12.38 | 12.84 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 188.48 | 60.91 | 0 | 0 | 0 | 13.34 | 10.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0