## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-27 00:20:30 +1H | 15.2 | 15.2 | 15.2 | 15.1 | 15.5 | 16 | 15.6 | 16.2 | 15.5 | 15.7 | 15.5 | 15.4 | 545.5 | 96.31 | 0 | 0 | 12 | 15.4 | 0 | 570.88 | 90.34 | 89 | 0 | 0 | 11.38 | 10.66 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 229.18 | 86.31 | 0 | 0 | 0 | 11.75 | 6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:20:00 +1H | 15.2 | 15.2 | 15.2 | 15.1 | 15.5 | 16 | 15.6 | 16.2 | 15.5 | 15.7 | 15.5 | 15.4 | 547.88 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 557.88 | 90.81 | 88.88 | 0 | 0 | 11.5 | 10.66 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 229.18 | 86.44 | 0 | 0 | 0 | 11.75 | 6.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:19:30 +1H | 15.2 | 15.2 | 15.2 | 15.1 | 15.5 | 16 | 15.6 | 16.2 | 15.5 | 15.7 | 15.5 | 15.4 | 550.38 | 96.44 | 0 | 0 | 11.88 | 15.4 | 0 | 553.5 | 91.06 | 89.47 | 0 | 0 | 11.5 | 11.28 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 229.18 | 86.56 | 0 | 0 | 0 | 11.75 | 5.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:19:00 +1H | 15.2 | 15.2 | 15.2 | 15.2 | 15.5 | 16 | 15.6 | 16.2 | 15.5 | 15.7 | 15.5 | 15.4 | 542.75 | 96.44 | 0 | 0 | 11.88 | 15.4 | 0 | 552.75 | 91.19 | 89.72 | 0 | 0 | 11.5 | 11.03 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.75 | 230.2 | 86.81 | 0 | 0 | 0 | 11.75 | 5.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:18:30 +1H | 15.2 | 15.2 | 15.2 | 15.2 | 15.5 | 16 | 15.6 | 16.2 | 15.5 | 15.7 | 15.5 | 15.5 | 543 | 96.31 | 0 | 0 | 11.88 | 15.4 | 0 | 552.75 | 91.19 | 89 | 0 | 0 | 11.5 | 10.78 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.25 | 230.67 | 87.16 | 0 | 0 | 0 | 11.62 | 6.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:18:00 +1H | 15.2 | 15.2 | 15.2 | 15.2 | 15.6 | 16 | 15.6 | 16.3 | 15.5 | 15.7 | 15.5 | 15.4 | 549.88 | 96.44 | 0 | 0 | 12 | 15.4 | 0 | 552.75 | 91.31 | 89.72 | 0 | 0 | 11.5 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.5 | 230.67 | 86.19 | 0 | 0 | 0 | 11.5 | 4.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:17:30 +1H | 15.2 | 15.2 | 15.2 | 15.2 | 15.6 | 16 | 15.6 | 16.3 | 15.5 | 15.7 | 15.5 | 15.4 | 538.62 | 96.44 | 0 | 0 | 12 | 15.4 | 0 | 552.75 | 91.44 | 89.72 | 0 | 0 | 11.5 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.25 | 230.67 | 85.81 | 0 | 0 | 0 | 11.75 | 3.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:17:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.5 | 16 | 15.6 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 546 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 550.88 | 91.44 | 89.84 | 0 | 0 | 11.5 | 10.91 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 230.67 | 86.69 | 0 | 0 | 0 | 11.75 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:16:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 549.88 | 96.44 | 0 | 0 | 12 | 15.4 | 0 | 552.75 | 91.44 | 89.72 | 0 | 0 | 11.5 | 11.03 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.5 | 230.67 | 86.69 | 0 | 0 | 0 | 11.75 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:16:00 +1H | 15.2 | 15.2 | 15.2 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 552.62 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 557.5 | 91.19 | 89.59 | 0 | 0 | 11.5 | 11.03 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504.75 | 230.67 | 86.19 | 0 | 0 | 0 | 11.75 | 5.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:15:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 546 | 96.44 | 0 | 0 | 12 | 15.4 | 0 | 571.62 | 91.69 | 89.97 | 0 | 0 | 11.5 | 12.12 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.88 | 230.67 | 86.56 | 0 | 0 | 0 | 11.88 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:15:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 550.88 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 558.38 | 91.56 | 89.97 | 0 | 0 | 11.5 | 10.78 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 230.67 | 87.03 | 0 | 0 | 0 | 11.75 | 5.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:14:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 551.88 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 569.88 | 91.81 | 89.72 | 0 | 0 | 11.5 | 11.38 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 230.67 | 87.66 | 0 | 2.12 | 0 | 11.75 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:14:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.5 | 15.7 | 15.5 | 15.5 | 557.25 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 557.88 | 91.69 | 89.84 | 0 | 0 | 11.5 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.25 | 230.58 | 88.16 | 0 | 0 | 0 | 11.62 | 4.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:13:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 551.88 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 571.12 | 91.56 | 89.59 | 0 | 0 | 11.5 | 11.28 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.25 | 221.18 | 87.53 | 0 | 0.62 | 0 | 11.5 | 6.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:13:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 552.38 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 571.38 | 91.44 | 89.47 | 0 | 0 | 11.62 | 11.38 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 221.18 | 86.91 | 0 | 0 | 0 | 11.38 | 4.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:12:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 552.38 | 96.56 | 0 | 0 | 12 | 15.4 | 0 | 571.38 | 91.19 | 89.47 | 0 | 0 | 11.62 | 11.62 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 221.18 | 86.81 | 0 | 0 | 0 | 11.62 | 5.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:12:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 558.88 | 96.69 | 0 | 0 | 12 | 15.4 | 0 | 571.38 | 91.56 | 89.25 | 0 | 0 | 11.62 | 10.41 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.25 | 222.19 | 86.91 | 0 | 0 | 0 | 11.62 | 5.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:11:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 546.75 | 96.69 | 0 | 0 | 12 | 15.4 | 0 | 566 | 91.81 | 89.12 | 0 | 0 | 11.62 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.25 | 222.19 | 86.19 | 0 | 0 | 0 | 11.62 | 4.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:11:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 552.38 | 96.69 | 0 | 0 | 12 | 15.4 | 0 | 565.5 | 91.69 | 89.47 | 0 | 0 | 11.5 | 11.28 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.62 | 222.19 | 86.31 | 0 | 0 | 0 | 11.75 | 3.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:10:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 558.88 | 96.69 | 0 | 0 | 12 | 15.4 | 0 | 572.12 | 91.69 | 89.38 | 0 | 0 | 11.5 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 222.14 | 86.06 | 0 | 0 | 0 | 11.88 | 5.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:10:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 537.38 | 96.81 | 0 | 0 | 12.12 | 15.4 | 0 | 557 | 90.94 | 89.47 | 0 | 0 | 11.62 | 10.91 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 211.28 | 86.44 | 0 | 0 | 0 | 11.88 | 5.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:09:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 546.75 | 96.81 | 0 | 0 | 12.12 | 15.4 | 0 | 551.38 | 91.69 | 89.47 | 0 | 0 | 11.62 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 211.68 | 86.81 | 0 | 0 | 0 | 11.88 | 5.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:09:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 540.88 | 96.81 | 0 | 0 | 12 | 15.4 | 0 | 553.25 | 91.81 | 89.84 | 0 | 0 | 11.62 | 10.78 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.75 | 211.68 | 86.81 | 0 | 0 | 0 | 11.88 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:08:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 538.12 | 96.81 | 0 | 0 | 12 | 15.4 | 0 | 556 | 91.56 | 89.25 | 0 | 0 | 11.62 | 10.78 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.5 | 211.9 | 87.03 | 0 | 0 | 0 | 11.88 | 4.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:08:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.7 | 15.6 | 15.5 | 552.12 | 96.81 | 0 | 0 | 12.12 | 15.4 | 0 | 558.12 | 91.81 | 90.22 | 0 | 0 | 11.62 | 11.75 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.5 | 211.68 | 87.16 | 0 | 0 | 0 | 11.75 | 4.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:07:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.7 | 15.5 | 15.5 | 540.88 | 96.81 | 0 | 0 | 12.12 | 15.4 | 0 | 571.38 | 91.69 | 89.47 | 0 | 0 | 11.62 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 211.68 | 86.06 | 0 | 1.38 | 0 | 11.75 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:07:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.7 | 15.6 | 15.5 | 552.12 | 96.94 | 0 | 0 | 12.12 | 15.4 | 0 | 558.12 | 91.44 | 89 | 0 | 0 | 11.75 | 11.28 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 485.12 | 211.21 | 87.41 | 0 | 0 | 0 | 11.88 | 4.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:06:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 539.38 | 96.94 | 0 | 0 | 12.12 | 15.4 | 0 | 565.5 | 91.94 | 89.97 | 0 | 0 | 11.75 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.25 | 211.59 | 88.03 | 0 | 1.62 | 0 | 11.75 | 5.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:06:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 545 | 96.94 | 0 | 0 | 12 | 15.4 | 0 | 570.12 | 91.81 | 89.97 | 0 | 0 | 11.75 | 11.38 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 488.12 | 211.21 | 87.53 | 0 | 0 | 0 | 11.75 | 3.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:05:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.7 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 539.12 | 96.94 | 0 | 0 | 12.12 | 15.4 | 0 | 566 | 91.56 | 89.72 | 0 | 0 | 11.75 | 11.38 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.75 | 211.21 | 87.91 | 0 | 0 | 0 | 11.75 | 6.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:05:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 545 | 96.94 | 0 | 0 | 12.12 | 15.4 | 0 | 570.12 | 91.81 | 89.59 | 0 | 0 | 11.75 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 211.21 | 88.75 | 0 | 0 | 0 | 11.62 | 3.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:04:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 551.12 | 97.06 | 0 | 0 | 12.12 | 15.4 | 0 | 565.25 | 91.69 | 89.84 | 0 | 0 | 11.75 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.5 | 211.21 | 88.62 | 0 | 0 | 0 | 11.62 | 5.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:04:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 550.62 | 97.19 | 0 | 0 | 12.12 | 15.4 | 0 | 570.12 | 91.81 | 89.97 | 0 | 0 | 11.75 | 11.28 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 211.21 | 89.12 | 0 | 0 | 0 | 11.62 | 3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:03:30 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 556.5 | 97.06 | 0 | 0 | 12.12 | 15.4 | 0 | 559.12 | 91.94 | 89.47 | 0 | 0 | 11.75 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 211.21 | 89.84 | 0 | 0 | 0 | 11.5 | 2.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:03:00 +1H | 15.2 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 550.62 | 97.06 | 0 | 0 | 12.12 | 15.4 | 0 | 559.12 | 92.16 | 89.84 | 0 | 0 | 11.75 | 11.62 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 507.38 | 211.21 | 89.25 | 0 | 1.12 | 0 | 11.28 | 4.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:02:30 +1H | 15.3 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 541.88 | 97.06 | 0 | 0 | 12.25 | 15.4 | 0 | 560.88 | 92.53 | 90.09 | 0 | 0 | 11.75 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 509.63 | 211.21 | 89.47 | 0 | 0 | 0 | 11.38 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:02:00 +1H | 15.3 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 550.38 | 97.31 | 0 | 0 | 12.25 | 15.4 | 0 | 559.12 | 92.66 | 90.59 | 0 | 0 | 11.75 | 11.88 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.25 | 211.21 | 89.97 | 0 | 0.38 | 0 | 11.38 | 3.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:01:30 +1H | 15.3 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 543.25 | 97.31 | 0 | 0 | 12.25 | 15.4 | 0 | 561.88 | 92.28 | 90.09 | 0 | 0 | 11.75 | 11.16 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 211.21 | 89.47 | 0 | 0 | 0 | 11.28 | 4.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:01:00 +1H | 15.3 | 15.2 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 543.25 | 97.31 | 0 | 0 | 12.25 | 15.4 | 0 | 552.12 | 92.16 | 89.59 | 0 | 0 | 11.75 | 11.03 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 211.77 | 89.38 | 0 | 0 | 0 | 11.38 | 5.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:00:30 +1H | 15.3 | 15.3 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 542 | 97.31 | 0 | 0 | 12.25 | 15.4 | 0 | 557.88 | 92.53 | 89.47 | 0 | 0 | 11.75 | 11.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 214.18 | 89.84 | 0 | 0 | 0 | 11.38 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-27 00:00:00 +1H | 15.3 | 15.3 | 15.3 | 15.2 | 15.6 | 16.1 | 15.8 | 16.3 | 15.6 | 15.8 | 15.6 | 15.5 | 542 | 97.31 | 0 | 0 | 12.25 | 15.4 | 0 | 568.62 | 93.16 | 89.59 | 0 | 0 | 11.88 | 11.75 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.88 | 214.18 | 90.09 | 0 | 0 | 0 | 11.38 | 4.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0