## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-28 00:20:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 540.38 | 89.84 | 0 | 0 | 10.28 | 14.7 | 0 | 558.88 | 88.38 | 83.12 | 0 | 0 | 10.03 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.5 | 221.69 | 68.84 | 0 | 0 | 0 | 11.03 | 9.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:20:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 540.38 | 89.72 | 0 | 0 | 10.28 | 14.7 | 0 | 565.5 | 88.5 | 84 | 0 | 0 | 10.03 | 9.94 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.5 | 210.85 | 68.97 | 0 | 0 | 0 | 11.03 | 9.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:19:30 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 536 | 89.59 | 0 | 0 | 10.16 | 14.7 | 0 | 568.88 | 88.25 | 82.66 | 0 | 0 | 9.94 | 9.81 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.12 | 209.32 | 68.84 | 0 | 0 | 0 | 11.03 | 10.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:19:00 +1H | 14.6 | 14.2 | 14.6 | 14.4 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 533.5 | 89.59 | 0 | 0 | 10.28 | 14.7 | 0 | 565.5 | 87.91 | 81.78 | 0 | 0 | 10.03 | 10.16 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 197.21 | 69.09 | 0 | 0 | 0 | 11.03 | 8.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:18:30 +1H | 14.6 | 14.2 | 14.6 | 14.5 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 525 | 89.47 | 0 | 0 | 10.28 | 14.7 | 0 | 571.62 | 87.78 | 81.91 | 0 | 0 | 9.94 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 194.15 | 69.22 | 0 | 0 | 0 | 11.16 | 9.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:18:00 +1H | 14.6 | 14.2 | 14.6 | 14.5 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 533.5 | 89.84 | 0 | 0 | 10.28 | 14.7 | 0 | 562.38 | 87.41 | 82.53 | 0 | 0 | 9.94 | 9.81 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 489.38 | 200.83 | 69.22 | 0 | 0 | 0 | 11.03 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:17:30 +1H | 14.6 | 14.2 | 14.6 | 14.5 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 542 | 89.72 | 0 | 0 | 10.28 | 14.7 | 0 | 561.62 | 88.25 | 83 | 0 | 0 | 10.03 | 10.03 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 186.1 | 69.09 | 0 | 1.12 | 0 | 11.03 | 7.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:17:00 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 541.38 | 89.72 | 0 | 0 | 10.28 | 14.7 | 0 | 563.12 | 88.62 | 83.75 | 0 | 0 | 10.03 | 9.69 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504.5 | 178.07 | 69.09 | 0 | 0 | 0 | 11.03 | 7.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:16:30 +1H | 14.6 | 14.2 | 14.6 | 14.5 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 530.62 | 89.72 | 0 | 0 | 10.28 | 14.7 | 0 | 565.5 | 89 | 83.25 | 0 | 0 | 10.03 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.25 | 210.94 | 69.22 | 0 | 0 | 0 | 11.03 | 9.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:16:00 +1H | 14.6 | 14.2 | 14.6 | 14.5 | 14.8 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 541.38 | 89.72 | 0 | 0 | 10.16 | 14.7 | 0 | 569.12 | 88.88 | 82.88 | 0 | 0 | 9.94 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 204.21 | 68.59 | 0 | 0 | 0 | 11.16 | 10.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:15:30 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 545 | 89.72 | 0 | 0 | 10.16 | 14.7 | 0 | 561.12 | 88.25 | 84.22 | 0 | 0 | 9.94 | 10.28 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.25 | 210.01 | 68.59 | 0 | 0.62 | 0 | 11.16 | 11.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:15:00 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 542.25 | 89.72 | 0 | 0 | 10.16 | 14.7 | 0 | 561.12 | 89 | 84.12 | 0 | 0 | 10.03 | 10.53 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 210.62 | 68.84 | 0 | 0 | 0 | 11.16 | 11.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:14:30 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 542.5 | 89.84 | 0 | 0 | 10.16 | 14.7 | 0 | 563.12 | 89 | 82.88 | 0 | 0 | 9.94 | 10.03 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 507.88 | 211.77 | 68.72 | 0 | 0.62 | 0 | 11.03 | 13.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:14:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 526.88 | 89.84 | 0 | 0 | 10.28 | 14.7 | 0 | 567.25 | 88.38 | 81.78 | 0 | 0 | 9.94 | 9.94 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 216.2 | 68.97 | 0 | 0 | 0 | 11.03 | 9.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:13:30 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 534 | 89.72 | 0 | 0 | 10.16 | 14.7 | 0 | 562.38 | 88.5 | 83.12 | 0 | 0 | 9.94 | 10.28 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 507.88 | 214.54 | 69.09 | 0 | 0 | 0 | 11.03 | 7.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:13:00 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 542.25 | 89.97 | 0 | 0 | 10.28 | 14.7 | 0 | 549.38 | 88.25 | 82.78 | 0 | 0 | 9.94 | 9.69 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 508.88 | 212.56 | 69.94 | 0 | 0 | 0 | 11.03 | 9.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:12:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 533.5 | 90.22 | 0 | 0 | 10.28 | 14.7 | 0 | 570.88 | 88.16 | 83.12 | 0 | 0 | 9.81 | 10.03 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 508.38 | 209.88 | 69.81 | 0 | 0 | 0 | 10.91 | 9.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:12:00 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 541.88 | 90.22 | 0 | 0 | 10.28 | 14.7 | 0 | 561.88 | 88.16 | 81.91 | 0 | 0 | 9.81 | 9.44 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 200.21 | 69.47 | 0 | 0 | 0 | 11.03 | 9.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:11:30 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 541.88 | 90.22 | 0 | 0 | 10.28 | 14.7 | 0 | 562.38 | 88.03 | 82.16 | 0 | 0 | 9.81 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 192.31 | 69.47 | 0 | 0 | 0 | 10.91 | 6.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:11:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.7 | 539.88 | 90.22 | 0 | 0 | 10.16 | 14.8 | 0 | 561.88 | 88.5 | 81.56 | 0 | 0 | 9.81 | 10.66 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505 | 204.12 | 69.47 | 0 | 0 | 0 | 11.03 | 10.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:10:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 539.88 | 90.34 | 0 | 0 | 10.16 | 14.8 | 0 | 565.5 | 88.03 | 81.78 | 0 | 0 | 9.94 | 9.94 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 200.16 | 69.47 | 0 | 0 | 0 | 11.03 | 11.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:10:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.5 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 539.88 | 90.22 | 0 | 0 | 10.16 | 14.8 | 0 | 567.75 | 87.78 | 82.16 | 0 | 0 | 9.81 | 10.16 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 194.02 | 69.47 | 0 | 0 | 0 | 11.03 | 8.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:09:30 +1H | 14.6 | 14.3 | 14.6 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 540.88 | 90.22 | 0 | 0 | 10.28 | 14.8 | 0 | 558.12 | 87.41 | 80.81 | 0 | 0 | 9.81 | 10.16 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 205.22 | 69.34 | 0 | 0 | 0 | 10.91 | 12.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:09:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 539.88 | 90.59 | 0 | 0 | 10.28 | 14.7 | 0 | 567.75 | 87.66 | 80.09 | 0 | 0 | 9.81 | 10.53 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.88 | 201.87 | 69.09 | 0 | 0 | 0 | 10.91 | 9.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:08:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 536.75 | 90.47 | 0 | 0 | 10.28 | 14.7 | 0 | 569.62 | 88.88 | 80.09 | 0 | 0 | 9.81 | 10.03 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 196.47 | 69.09 | 0 | 0 | 0 | 10.91 | 9.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:08:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 536.75 | 90.47 | 0 | 0 | 10.28 | 14.7 | 0 | 562.12 | 88.38 | 81.66 | 0 | 0 | 9.81 | 9.69 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 200.56 | 68.72 | 0 | 0 | 0 | 10.91 | 11.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:07:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 533.25 | 90.47 | 0 | 0 | 10.28 | 14.8 | 0 | 569.62 | 88.62 | 80.81 | 0 | 0 | 9.94 | 9.31 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 202.5 | 68.47 | 0 | 1.12 | 0 | 11.03 | 10.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:07:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 536.75 | 90.34 | 0 | 0 | 10.16 | 14.8 | 0 | 571.88 | 88.5 | 82.66 | 0 | 0 | 9.94 | 10.53 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 204.53 | 68.72 | 0 | 0 | 0 | 11.03 | 8.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:06:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 533 | 90.22 | 0 | 0 | 10.16 | 14.8 | 0 | 569.62 | 88.38 | 82.66 | 0 | 0 | 9.94 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 201.71 | 69.09 | 0 | 0 | 0 | 11.03 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:06:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 533 | 90.09 | 0 | 0 | 10.28 | 14.8 | 0 | 569.62 | 88.62 | 81.44 | 0 | 0 | 9.94 | 10.16 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.25 | 209.74 | 69.34 | 0 | 0 | 0 | 10.91 | 7.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:05:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 544 | 90.22 | 0 | 0 | 10.41 | 14.8 | 0 | 561.88 | 87.91 | 83.75 | 0 | 0 | 9.94 | 9.69 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.88 | 200.7 | 69.47 | 0 | 0 | 0 | 10.91 | 7.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:05:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 543 | 90.34 | 0 | 0 | 10.41 | 14.8 | 0 | 553.75 | 88.38 | 81.44 | 0 | 0 | 9.94 | 10.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.25 | 204.21 | 69.94 | 0 | 1.12 | 0 | 10.78 | 9.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:04:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 538.62 | 90.34 | 0 | 0 | 10.41 | 14.8 | 0 | 569.12 | 88.5 | 80.56 | 0 | 0 | 9.94 | 10.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 198.95 | 69.34 | 0 | 1.38 | 0 | 10.78 | 10.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:04:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.3 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 538.62 | 89.97 | 0 | 0 | 10.41 | 14.8 | 0 | 556 | 89 | 81.91 | 0 | 0 | 9.94 | 10.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 511.75 | 200.86 | 68.97 | 0 | 0 | 0 | 10.91 | 8.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:03:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 539.62 | 89.97 | 0 | 0 | 10.41 | 14.8 | 0 | 566.5 | 88.75 | 82.88 | 0 | 0 | 9.94 | 10.16 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 511.75 | 196.51 | 68.72 | 0 | 0 | 0 | 10.91 | 5.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:03:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 549.62 | 89.97 | 0 | 0 | 10.41 | 14.8 | 0 | 555.75 | 89 | 84.47 | 0 | 0 | 9.94 | 10.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 199.73 | 69.22 | 0 | 0 | 0 | 11.03 | 8.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:02:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 539.62 | 89.97 | 0 | 0 | 10.41 | 14.8 | 0 | 551.62 | 88.75 | 83.88 | 0 | 0 | 9.94 | 10.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 206.8 | 68.97 | 0 | 0 | 0 | 11.03 | 9.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:02:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 546.5 | 89.84 | 0 | 0 | 10.53 | 14.8 | 0 | 557.5 | 88.38 | 84.12 | 0 | 0 | 10.03 | 10.41 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 210.58 | 68.84 | 0 | 0 | 0 | 11.16 | 6.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:01:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 530.38 | 89.84 | 0 | 0 | 10.53 | 14.8 | 0 | 554.5 | 88.16 | 83.88 | 0 | 0 | 10.03 | 9.06 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 201.08 | 69.22 | 0 | 0 | 0 | 11.16 | 8.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:01:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 539.62 | 89.97 | 0 | 0 | 10.53 | 14.8 | 0 | 558.38 | 88.5 | 83.88 | 0 | 0 | 10.03 | 9.94 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 208.17 | 68.97 | 0 | 1.62 | 0 | 11.03 | 8.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:00:30 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 546.25 | 89.84 | 0 | 0 | 10.53 | 14.8 | 0 | 562.38 | 88.38 | 83.25 | 0 | 0 | 10.03 | 10.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 487.88 | 207.25 | 68.84 | 0 | 0 | 0 | 11.16 | 8.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-28 00:00:00 +1H | 14.6 | 14.3 | 14.7 | 14.5 | 14.9 | 15.4 | 14.6 | 15.2 | 14.6 | 14.8 | 14.7 | 14.8 | 535 | 89.84 | 0 | 0 | 10.53 | 14.8 | 0 | 559.12 | 88.03 | 83.62 | 0 | 0 | 9.94 | 10.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.75 | 208.6 | 68.47 | 0 | 0 | 0 | 11.16 | 7.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0