## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-29 00:21:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.7 | 15.1 | 15.3 | 15.2 | 15.1 | 547.38 | 92.16 | 0 | 0 | 11.5 | 15 | 0 | 555.5 | 88.75 | 84 | 0 | 0 | 11.03 | 10.78 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 208.87 | 74.84 | 0 | 0 | 0 | 11.62 | 10.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:20:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.2 | 15.2 | 15.1 | 547.38 | 92.16 | 0 | 0 | 11.38 | 15 | 0 | 557.88 | 88.38 | 83 | 0 | 0 | 10.91 | 11.28 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.62 | 202.32 | 74.72 | 0 | 0.38 | 0 | 11.5 | 11.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:20:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 550.38 | 92.16 | 0 | 0 | 11.38 | 15 | 0 | 545.5 | 87.91 | 84 | 0 | 0 | 10.91 | 11.75 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 211.72 | 75.31 | 0 | 0 | 0 | 11.5 | 11.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:19:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.7 | 15.1 | 15.3 | 15.2 | 15.1 | 551.88 | 92.16 | 0 | 0 | 11.5 | 15 | 0 | 557.88 | 87.53 | 82.28 | 0 | 0 | 10.91 | 11.03 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.38 | 209.18 | 75.31 | 0 | 0 | 0 | 11.38 | 14.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:19:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 550.12 | 92.16 | 0 | 0 | 11.5 | 15 | 0 | 551.38 | 87.78 | 82.28 | 0 | 0 | 10.91 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504.75 | 217.53 | 74.97 | 0 | 0 | 0 | 11.38 | 10.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:18:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 549.12 | 92.16 | 0 | 0 | 11.5 | 15 | 0 | 564.75 | 88.38 | 81.66 | 0 | 0 | 10.91 | 11.03 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 228.47 | 74.84 | 0 | 0 | 0 | 11.38 | 8.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:18:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 542.5 | 92.06 | 0 | 0 | 11.5 | 15 | 0 | 572.88 | 89.47 | 82.78 | 0 | 0 | 11.03 | 11.16 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.75 | 238.14 | 74.34 | 0 | 0 | 0 | 11.38 | 10.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:17:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 544.75 | 91.94 | 0 | 0 | 11.5 | 15 | 0 | 560.12 | 89.84 | 81.78 | 0 | 0 | 11.16 | 11.03 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 215.55 | 73.84 | 0 | 1.38 | 0 | 11.38 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:17:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 542 | 91.94 | 0 | 0 | 11.62 | 15 | 0 | 561.38 | 89.97 | 82.66 | 0 | 0 | 11.16 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.62 | 197.26 | 74.09 | 0 | 0 | 0 | 11.5 | 9.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:16:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 544.75 | 92.06 | 0 | 0 | 11.62 | 15 | 0 | 564.75 | 89.97 | 84.59 | 0 | 0 | 11.16 | 11.16 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.25 | 228.04 | 73.72 | 0 | 0 | 0 | 11.5 | 8.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:16:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 540.62 | 91.94 | 0 | 0 | 11.5 | 15 | 0 | 569.38 | 89.72 | 84.97 | 0 | 0 | 11.03 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.12 | 169.22 | 73.62 | 0 | 0 | 0 | 11.5 | 7.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:15:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 537.88 | 91.81 | 0 | 0 | 11.62 | 15 | 0 | 568 | 89.84 | 84.59 | 0 | 0 | 11.03 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 234.18 | 73.5 | 0 | 0 | 0 | 11.5 | 6.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:15:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 540.62 | 91.81 | 0 | 0 | 11.62 | 15 | 0 | 563.12 | 89.97 | 84.72 | 0 | 0 | 11.03 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 234.18 | 73.38 | 0 | 0 | 0 | 11.62 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:14:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 541.38 | 91.81 | 0 | 0 | 11.62 | 15 | 0 | 568.25 | 89.72 | 84.34 | 0 | 0 | 11.03 | 10.53 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.5 | 234.63 | 73.25 | 0 | 0 | 0 | 11.62 | 5.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:14:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.1 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 540.88 | 91.81 | 0 | 0 | 11.62 | 15 | 0 | 560.62 | 89.84 | 84.84 | 0 | 0 | 11.03 | 11.5 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 229.18 | 72.62 | 0 | 0 | 0 | 11.62 | 7.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:13:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 541.38 | 91.69 | 0 | 0 | 11.62 | 15 | 0 | 567.25 | 90.22 | 84.22 | 0 | 0 | 11.03 | 11.62 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.75 | 230.26 | 72.28 | 0 | 0 | 0 | 11.75 | 7.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:13:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 540.88 | 91.69 | 0 | 0 | 11.62 | 15 | 0 | 561.88 | 89.84 | 83.88 | 0 | 0 | 10.91 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 230.26 | 72.38 | 0 | 0 | 0 | 11.75 | 7.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:12:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 542.25 | 91.69 | 0 | 0 | 11.5 | 15 | 0 | 564.25 | 89.97 | 84.72 | 0 | 0 | 10.91 | 11.03 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.75 | 205.87 | 72.38 | 0 | 0 | 0 | 11.88 | 7.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:12:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 542.25 | 91.69 | 0 | 0 | 11.5 | 15 | 0 | 567.5 | 90.09 | 84.22 | 0 | 0 | 10.91 | 10.53 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.88 | 210.2 | 72.28 | 0 | 0 | 0 | 11.75 | 4.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:11:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 541.88 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 567.5 | 89.59 | 84.72 | 0 | 0 | 10.78 | 10.78 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 215.15 | 73 | 0 | 0 | 0 | 11.88 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:11:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 539.38 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 561.62 | 89 | 84.12 | 0 | 0 | 10.78 | 10.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.88 | 200.25 | 73.5 | 0 | 0 | 0 | 11.75 | 7.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:10:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 532.25 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 566.5 | 88.88 | 83.12 | 0 | 0 | 10.78 | 10.41 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 186.23 | 73.38 | 0 | 0 | 0 | 11.62 | 11.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:10:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 532.25 | 91.81 | 0 | 0 | 11.38 | 15 | 0 | 557.5 | 89.84 | 82.66 | 0 | 0 | 10.78 | 11.16 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 170.24 | 73.25 | 0 | 1.62 | 0 | 11.62 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:09:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 530.88 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 550.12 | 89.47 | 83.62 | 0 | 0 | 10.78 | 11.16 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 197.21 | 73.25 | 0 | 0 | 0 | 11.62 | 5.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:09:00 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.1 | 530.88 | 91.81 | 0 | 0 | 11.38 | 15 | 0 | 564.5 | 89.59 | 83 | 0 | 0 | 10.78 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.88 | 195.91 | 73.38 | 0 | 0 | 0 | 11.62 | 7.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:08:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 529.62 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 567.25 | 89.59 | 83.5 | 0 | 0 | 10.78 | 11.16 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 198.63 | 73.62 | 0 | 0 | 0 | 11.62 | 8.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:08:00 +1H | 14.9 | 14.8 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 535 | 91.81 | 0 | 0 | 11.38 | 15 | 0 | 554.25 | 89.84 | 83.38 | 0 | 0 | 10.78 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.25 | 189.83 | 73.72 | 0 | 0 | 0 | 11.62 | 9.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:07:30 +1H | 14.9 | 14.7 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 535 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 563.5 | 89.59 | 83.38 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 203.2 | 73.97 | 0 | 0 | 0 | 11.5 | 9.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:07:00 +1H | 14.9 | 14.8 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 535 | 91.56 | 0 | 0 | 11.28 | 15 | 0 | 556.25 | 89.12 | 84 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.88 | 185.49 | 74.09 | 0 | 0 | 0 | 11.5 | 8.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:06:30 +1H | 14.9 | 14.8 | 15 | 14.8 | 15.2 | 15.7 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 533.25 | 91.56 | 0 | 0 | 11.28 | 15 | 0 | 560.62 | 89.25 | 81.56 | 0 | 0 | 10.78 | 10.53 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.62 | 175.54 | 73.62 | 0 | 0 | 0 | 11.38 | 8.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:06:00 +1H | 14.9 | 14.8 | 15 | 14.8 | 15.3 | 15.7 | 15.2 | 15.8 | 15.1 | 15.3 | 15.2 | 15.2 | 535.5 | 91.56 | 0 | 0 | 11.38 | 15 | 0 | 556 | 89.38 | 81.06 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.12 | 187.72 | 73.62 | 0 | 0 | 0 | 11.5 | 8.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:05:30 +1H | 14.9 | 14.8 | 15 | 14.8 | 15.3 | 15.7 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 533.5 | 91.56 | 0 | 0 | 11.38 | 15 | 0 | 559.38 | 89 | 82.28 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.38 | 212.65 | 73.62 | 0 | 0 | 0 | 11.5 | 6.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:05:00 +1H | 14.9 | 14.8 | 15 | 14.8 | 15.3 | 15.7 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 519.38 | 91.56 | 0 | 0 | 11.38 | 15 | 0 | 555.75 | 89.59 | 81.91 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.88 | 198.9 | 73.38 | 0 | 1.38 | 0 | 11.5 | 11.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:04:30 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.7 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 527.38 | 91.56 | 0 | 0 | 11.38 | 15 | 0 | 555.75 | 89.12 | 81.19 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.38 | 207.38 | 73.62 | 0 | 0 | 0 | 11.5 | 7.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:04:00 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.7 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 527.38 | 91.44 | 0 | 0 | 11.38 | 15 | 0 | 564.75 | 88.75 | 81.56 | 0 | 0 | 10.78 | 10.66 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 191.63 | 73.12 | 0 | 1.62 | 0 | 11.5 | 9.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:03:30 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.7 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 551.12 | 91.69 | 0 | 0 | 11.38 | 15 | 0 | 552.75 | 89.12 | 82.41 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.88 | 200.7 | 72.62 | 0 | 1.38 | 0 | 11.5 | 12.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:03:00 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.7 | 15.2 | 15.9 | 15.2 | 15.3 | 15.2 | 15.2 | 536.75 | 91.81 | 0 | 0 | 11.28 | 15 | 0 | 556.5 | 89.12 | 83.75 | 0 | 0 | 10.66 | 10.78 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 206.84 | 72.38 | 0 | 0 | 0 | 11.62 | 11.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 90 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:02:30 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.8 | 15.2 | 15.9 | 15.1 | 15.3 | 15.2 | 15.2 | 536.75 | 91.56 | 0 | 0 | 11.28 | 15 | 0 | 553.5 | 88.88 | 82.88 | 0 | 0 | 10.66 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 211.03 | 72.5 | 0 | 0 | 0 | 11.62 | 10.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:02:00 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.8 | 15.2 | 15.9 | 15.2 | 15.3 | 15.2 | 15.2 | 538.88 | 91.44 | 0 | 0 | 11.28 | 15 | 0 | 552.12 | 88.62 | 82.41 | 0 | 0 | 10.78 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 216.02 | 72.16 | 0 | 0 | 0 | 11.62 | 9.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:01:30 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.8 | 15.2 | 15.9 | 15.2 | 15.3 | 15.2 | 15.2 | 538.88 | 91.56 | 0 | 0 | 11.28 | 15 | 0 | 550.12 | 88.75 | 83.12 | 0 | 0 | 10.78 | 11.28 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 212.2 | 72.16 | 0 | 0 | 0 | 11.62 | 3.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:01:00 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.8 | 15.2 | 15.9 | 15.2 | 15.3 | 15.2 | 15.2 | 543.25 | 91.56 | 0 | 0 | 11.28 | 15 | 0 | 558.12 | 89 | 83.12 | 0 | 0 | 10.78 | 10.91 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504.5 | 214.22 | 72.28 | 0 | 0 | 0 | 11.62 | 7.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:00:30 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.8 | 15.2 | 15.9 | 15.2 | 15.4 | 15.2 | 15.2 | 534 | 91.56 | 0 | 0 | 11.28 | 15 | 0 | 564 | 88.75 | 84.22 | 0 | 0 | 10.66 | 11.16 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 210.85 | 72.28 | 0 | 0 | 0 | 11.62 | 9.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
2024-12-29 00:00:00 +1H | 14.9 | 14.8 | 15 | 14.9 | 15.3 | 15.8 | 15.2 | 15.9 | 15.2 | 15.4 | 15.2 | 15.2 | 538.88 | 91.44 | 0 | 0 | 11.28 | 15 | 0 | 564.75 | 88.62 | 83.88 | 0 | 0 | 10.66 | 10.78 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 214.9 | 72.16 | 0 | 0 | 0 | 11.62 | 8.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0