## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-30 00:21:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 533.5 | 90.94 | 0 | 0 | 11.03 | 14.9 | 0 | 567.75 | 84 | 78 | 0 | 0 | 10.91 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 209.05 | 73.97 | 0 | 0 | 0 | 11.5 | 10.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:20:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 532 | 90.94 | 0 | 0 | 11.03 | 14.9 | 0 | 548.62 | 85.34 | 78.88 | 0 | 0 | 10.78 | 12.12 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.5 | 212.38 | 73.97 | 0 | 0 | 0 | 11.5 | 11.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:20:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 532 | 91.06 | 0 | 0 | 11.16 | 14.9 | 0 | 549.12 | 86.91 | 80.09 | 0 | 0 | 10.66 | 11.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.25 | 199.1 | 73.62 | 0 | 0 | 0 | 11.5 | 10.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:19:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 526 | 91.06 | 0 | 0 | 11.16 | 14.9 | 0 | 554.5 | 88.16 | 81.44 | 0 | 0 | 10.78 | 11.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 196.11 | 73.97 | 0 | 0 | 0 | 11.38 | 9.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:19:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 531.38 | 91.19 | 0 | 0 | 11.16 | 14.9 | 0 | 549.12 | 88.5 | 79.97 | 0 | 0 | 10.78 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491 | 185.13 | 73.84 | 0 | 0 | 0 | 11.38 | 7.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:18:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 537.38 | 91.31 | 0 | 0 | 11.28 | 14.9 | 0 | 566.75 | 88.5 | 79.09 | 0 | 0 | 10.78 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 167.15 | 73.84 | 0 | 0 | 0 | 11.5 | 7.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:18:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 533 | 91.19 | 0 | 0 | 11.28 | 14.9 | 0 | 556 | 87.66 | 80.81 | 0 | 0 | 10.78 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.25 | 216.56 | 73.84 | 0 | 0 | 0 | 11.38 | 5.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:17:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 533 | 91.06 | 0 | 0 | 11.28 | 14.9 | 0 | 556 | 87.91 | 82.16 | 0 | 0 | 10.78 | 10.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 176.38 | 73.97 | 0 | 0 | 0 | 11.5 | 13.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:17:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 536.88 | 90.94 | 0 | 0 | 11.28 | 14.9 | 0 | 566.75 | 87.78 | 83 | 0 | 0 | 10.78 | 10.66 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 207.54 | 74.47 | 0 | 1.62 | 0 | 11.38 | 8.41 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:16:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 533.25 | 91.06 | 0 | 0 | 11.38 | 14.9 | 0 | 555 | 87.91 | 82.03 | 0 | 0 | 10.78 | 10.91 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 208.82 | 75.31 | 0 | 1.38 | 0 | 11.28 | 8.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:16:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 530.12 | 91.06 | 0 | 0 | 11.38 | 14.9 | 0 | 553.5 | 88.03 | 81.66 | 0 | 0 | 10.78 | 10.41 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 186.05 | 75.69 | 0 | 0 | 0 | 11.16 | 12.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:15:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 534.25 | 91.19 | 0 | 0 | 11.38 | 14.9 | 0 | 553.5 | 87.41 | 81.56 | 0 | 0 | 10.78 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 189.88 | 75.31 | 0 | 1.12 | 0 | 11.03 | 11.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:15:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 534.25 | 91.19 | 0 | 0 | 11.38 | 14.9 | 0 | 552.12 | 87.16 | 79.84 | 0 | 0 | 10.91 | 10.78 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.38 | 170.41 | 74.97 | 0 | 0 | 0 | 11.03 | 11.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:14:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15 | 15.2 | 15 | 534.25 | 91.06 | 0 | 0 | 11.38 | 14.9 | 0 | 553.5 | 87.78 | 79.34 | 0 | 0 | 10.91 | 10.91 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.25 | 201.91 | 74.97 | 0 | 0 | 0 | 11.03 | 11.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:14:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 540.38 | 90.94 | 0 | 0 | 11.38 | 14.9 | 0 | 556.5 | 86.81 | 79.09 | 0 | 0 | 10.91 | 11.03 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.62 | 209.09 | 74.72 | 0 | 0 | 0 | 11.03 | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:13:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 542.5 | 91.06 | 0 | 0 | 11.38 | 14.9 | 0 | 555.25 | 86.69 | 79.59 | 0 | 0 | 10.91 | 11.16 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.62 | 217.04 | 74.47 | 0 | 0 | 0 | 11.03 | 10.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:13:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 540.38 | 91.19 | 0 | 0 | 11.28 | 14.9 | 0 | 560.38 | 87.41 | 79.59 | 0 | 0 | 10.91 | 11.16 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.38 | 213.35 | 74.34 | 0 | 0 | 0 | 11.16 | 11.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:12:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 533.5 | 91.06 | 0 | 0 | 11.28 | 14.9 | 0 | 551.12 | 87.03 | 79.47 | 0 | 0 | 10.91 | 10.91 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.12 | 215.1 | 74.47 | 0 | 0 | 0 | 11.28 | 17.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:12:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 540.38 | 91.19 | 0 | 0 | 11.28 | 14.9 | 0 | 556.75 | 87.28 | 80.22 | 0 | 0 | 11.03 | 11.03 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.5 | 205.92 | 73.97 | 0 | 0 | 0 | 11.16 | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:11:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 539.88 | 91.44 | 0 | 0 | 11.28 | 14.9 | 0 | 559.62 | 86.81 | 78.25 | 0 | 0 | 10.91 | 11.62 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.75 | 218.59 | 73.5 | 0 | 0.88 | 0 | 11.28 | 12.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:11:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 539.88 | 91.56 | 0 | 0 | 11.28 | 14.9 | 0 | 544.75 | 86.06 | 78.5 | 0 | 0 | 10.91 | 11.28 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.75 | 211.86 | 72.75 | 0 | 0 | 0 | 11.38 | 15.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:10:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 544.5 | 91.69 | 0 | 0 | 11.28 | 14.9 | 0 | 551.38 | 85.56 | 78.97 | 0 | 0 | 10.91 | 11.5 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 491.75 | 221.58 | 72.16 | 0 | 0 | 0 | 11.5 | 14.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:10:00 +1H | 14.9 | 14.5 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.4 | 14.8 | 15.1 | 15.2 | 15 | 542.25 | 91.69 | 0 | 0 | 11.28 | 14.9 | 0 | 559.62 | 85.09 | 78.62 | 0 | 0 | 10.91 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 218.32 | 71.53 | 0 | 0 | 0 | 11.62 | 15.64 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:09:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.4 | 14.9 | 15.1 | 15.2 | 15 | 542.25 | 91.94 | 0 | 0 | 11.28 | 14.9 | 0 | 541.12 | 85.09 | 77.28 | 0 | 0 | 10.91 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 226.67 | 71.28 | 0 | 0 | 0 | 11.75 | 14.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:09:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 543.5 | 91.94 | 0 | 0 | 11.28 | 14.9 | 0 | 543.75 | 84.22 | 77.16 | 0 | 0 | 10.78 | 11.75 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.5 | 226.44 | 71.53 | 0 | 0 | 0 | 11.75 | 10.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:08:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 525.25 | 91.81 | 0 | 0 | 11.38 | 14.9 | 0 | 550.62 | 85.34 | 77.53 | 0 | 0 | 10.91 | 11.5 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.5 | 212.74 | 71.16 | 0 | 0 | 0 | 11.88 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:08:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 535.5 | 92.28 | 0 | 0 | 11.5 | 14.9 | 0 | 554.75 | 85.56 | 78.38 | 0 | 0 | 10.78 | 11.16 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 201.22 | 70.81 | 0 | 1.62 | 0 | 11.88 | 9.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 100 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:07:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 544.75 | 92.28 | 0 | 0 | 11.5 | 14.9 | 0 | 550.62 | 86.56 | 79.22 | 0 | 0 | 10.78 | 11.16 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 207.85 | 70.69 | 0 | 1.62 | 0 | 12 | 8.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:07:00 +1H | 14.9 | 14.5 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 540.62 | 92.28 | 0 | 0 | 11.5 | 14.9 | 0 | 554.75 | 87.66 | 80.44 | 0 | 0 | 10.78 | 11.16 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505 | 188.55 | 70.94 | 0 | 0 | 0 | 12 | 11.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:06:30 +1H | 14.9 | 14.5 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 540.62 | 92.16 | 0 | 0 | 11.5 | 14.9 | 0 | 548.12 | 88.03 | 79.97 | 0 | 0 | 10.78 | 11.28 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 160.6 | 70.94 | 0 | 0 | 0 | 11.88 | 13.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:06:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 542.75 | 92.16 | 0 | 0 | 11.5 | 14.9 | 0 | 557.88 | 87.16 | 79.47 | 0 | 0 | 10.66 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.38 | 181.53 | 71.03 | 0 | 0 | 0 | 11.88 | 12.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:05:30 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 543 | 92.16 | 0 | 0 | 11.5 | 14.9 | 0 | 554.75 | 87.66 | 80.22 | 0 | 0 | 10.66 | 11.5 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 507.38 | 170.46 | 71.16 | 0 | 0 | 0 | 11.88 | 13.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:05:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 541.12 | 92.06 | 0 | 0 | 11.5 | 14.9 | 0 | 559.38 | 88.25 | 79.72 | 0 | 0 | 10.78 | 11.28 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 171.72 | 71.41 | 0 | 0 | 0 | 11.88 | 11.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:04:30 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 532.5 | 92.06 | 0 | 0 | 11.5 | 14.9 | 0 | 570.38 | 88.62 | 79.97 | 0 | 0 | 10.78 | 11.16 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 169.6 | 71.16 | 0 | 0 | 0 | 11.88 | 16.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:04:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 540.88 | 91.94 | 0 | 0 | 11.5 | 14.9 | 0 | 559.62 | 88.62 | 80.81 | 0 | 0 | 10.91 | 10.78 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 189.36 | 71.03 | 0 | 0 | 0 | 11.88 | 11.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:03:30 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 518.88 | 91.81 | 0 | 0 | 11.5 | 14.9 | 0 | 555.75 | 89 | 80.44 | 0 | 0 | 10.78 | 10.28 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 165.17 | 71.28 | 0 | 1.62 | 0 | 11.88 | 17.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:03:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 526.88 | 91.81 | 0 | 0 | 11.5 | 14.9 | 0 | 560.38 | 88.25 | 79.97 | 0 | 0 | 10.78 | 11.5 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.5 | 172.04 | 71.03 | 0 | 0 | 0 | 11.88 | 11.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:02:30 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 526.88 | 91.81 | 0 | 0 | 11.5 | 14.9 | 0 | 557.25 | 88.38 | 79.72 | 0 | 0 | 10.78 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 162.18 | 71.16 | 0 | 0 | 0 | 11.88 | 14.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:02:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 531.12 | 91.69 | 0 | 0 | 11.5 | 14.9 | 0 | 557.25 | 88.03 | 79.59 | 0 | 0 | 10.78 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.25 | 174.49 | 71.41 | 0 | 0.88 | 0 | 11.88 | 14.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:01:30 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 536.88 | 91.69 | 0 | 0 | 11.5 | 14.9 | 0 | 556 | 88.62 | 79.22 | 0 | 0 | 10.78 | 12 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494 | 172.91 | 71.41 | 0 | 0 | 0 | 11.75 | 14.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:01:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 526.88 | 91.56 | 0 | 0 | 11.5 | 14.9 | 0 | 567.5 | 88.62 | 79.34 | 0 | 0 | 10.78 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 177.57 | 71.66 | 0 | 0 | 0 | 11.75 | 15.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:00:30 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 532.5 | 91.56 | 0 | 0 | 11.5 | 14.9 | 0 | 562.62 | 88.5 | 78.75 | 0 | 0 | 10.78 | 11.75 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 184.25 | 71.66 | 0 | 0 | 0 | 11.75 | 9.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-30 00:00:00 +1H | 14.9 | 14.6 | 14.9 | 14.8 | 15.1 | 15.6 | 14.8 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 531.12 | 91.44 | 0 | 0 | 11.5 | 14.9 | 0 | 554 | 88.03 | 79.72 | 0 | 0 | 10.78 | 11.62 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.38 | 182.27 | 71.66 | 0 | 0 | 0 | 11.75 | 10.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0