## Hoja1
FECHA | (TEMP_COLECTOR_IMPULSION_1) | (TEMP_COLECTOR_IMPULSION_2) | (TEMP_COLECTOR_RETORNO_1) | (TEMP_COLECTOR_RETORNO_2) | (TEMP_ENTRADA_BOMBACALOR) | (TEMP_ENTRADA_CALDERA) | (TEMP_IMPULSION_AEROTERMOS_S1) | (TEMP_IMPULSION_AEROTERMOS_S2) | (TEMP_RETORNO_AEROTERMOS_S1) | (TEMP_RETORNO_AEROTERMOS_S2) | (TEMP_SALIDA_CALDERA) | (TEMP_SALIDA_BOMBACALOR) | (INVER_CO2_INTERIOR_S1) | (INVER_HR_INTERIOR_S1) | (INVER_RADGLOBAL_INTERIOR_S1) | (INVER_RADPAR_INTERIOR_1) | (INVER_TEMP_INTERIOR_S1) | (INVER_TEMP_SUELO5_S1) | (INVER_TEMP_SUELO30_S1) | (INVER_CO2_INTERIOR_S2) | (INVER_HR_INTERIOR_S2_1M) | (INVER_HR_INTERIOR_S2_3M) | (INVER_RADGLOBAL_INTERIOR_S2) | (INVER_RADPAR_INTERIOR_S2) | (INVER_TEMP_INTERIOR_S2_1M) | (INVER_TEMP_INTERIOR_S2_3M) | (INVER_TEMP_SUELO5_S2) | (INVER_TEMP_SUELO30_S2) | (ACTERMICO_AEROTERMO_S1_1) | (ACTERMICO_AEROTERMO_S1_2) | (ACTERMICO_AEROTERMO_S1_3) | (ACTERMICO_AEROTERMO_S2_1) | (ACTERMICO_AEROTERMO_S2_2) | (ACTERMICO_AEROTERMO_S2_3) | (ACTERMICO_VALV3V_GENERACION) | (CO2GENERAL_CAUDAL) | (CO2GENERAL_VALV_S1) | (CO2GENERAL_VALV_S2) | (CO2GENERAL_VALV3V_PURO) | (HUM_BOMBA) | (HUM_DEPOS_NIVEL_BAJO) | (HUM_VALV_AGUA_S1) | (HUM_VALV_AGUA_S2) | (HUM_VALV_AIRE_S1) | (HUM_VALV_AIRE_S2) | (ACTERMICO_BOMBA_BOMBACALOR) | (ACTERMICO_BOMBA_CALDERA) | (ACTERMICO_BOMBA_S1) | (ACTERMICO_BOMBA_S2) | (ACTERMICO_VALV3VPROP_CALDERA) | (ACTERMICO_VALV3VPROP_S1) | (ACTERMICO_VALV3VPROP_S2) | (CO2GENERAL_VALVPROP) | (CO2_EXTERIOR_10M) | (DIRVIENTO_EXTERIOR_10M) | (HR_EXTERIOR_10M) | (LLUVIA_EXTERIOR_10M) | (RADGLOBAL_EXTERIOR_10M) | (RADPAR_EXTERIOR_10M) | (TEMP_EXTERIOR_10M) | (VELVIENTO_EXTERIOR_10M) | (UVCEN1_1a) | (UVCEN1_1c) | (UVCEN1_2a) | (UVCEN1_2c) | (UVCEN1_3a) | (UVCEN1_3c) | (UVCEN2_1a) | (UVCEN2_1c) | (UVCEN2_2a) | (UVCEN2_2c) | (UVCEN2_3a) | (UVCEN2_3c) | (UVLAT1Na) | (UVLAT1Nc) | (UVLAT1ONa) | (UVLAT1ONc) | (UVLAT1OSa) | (UVLAT1OSc) | (UVLAT1Sa) | (UVLAT1Sc) | (UVLAT2Ea) | (UVLAT2Ec) | (UVLAT2Na) | (UVLAT2Nc) | (UVLAT2Sa) | (UVLAT2Sc) | (UVCEN1_1_POS) | (UVCEN1_2_POS) | (UVCEN1_3_POS) | (UVCEN2_1_POS) | (UVCEN2_2_POS) | (UVCEN2_3_POS) | (UVLAT1N_POS) | (UVLAT1ON_POS) | (UVLAT1OS_POS) | (UVLAT1S_POS) | (UVLAT2E_POS) | (UVLAT2N_POS) | (UVLAT2S_POS) | (OPC_GENERAL_VENTANAS) | (OPC_GENERAL_CALEFACCION) | (OPC_GENERAL_CO2) | (OPC_GENERAL_DESHUMIDIFICACION) | (OPC_GENERAL_HUMIDIFICACION)
2024-12-31 00:21:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 540.38 | 89.72 | 0 | 0 | 11.5 | 14.9 | 0 | 559.12 | 85.94 | 79.47 | 0 | 0 | 10.78 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 180.92 | 70.44 | 0 | 0 | 0 | 11.5 | 12.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:20:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 539.38 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 545.5 | 85.69 | 79.47 | 0 | 0 | 10.78 | 10.53 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 199.87 | 70.44 | 0 | 0 | 0 | 11.5 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:20:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 523.5 | 89.72 | 0 | 0 | 11.5 | 14.9 | 0 | 559.12 | 84.59 | 78.97 | 0 | 0 | 10.91 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.75 | 190.8 | 70.56 | 0 | 0 | 0 | 11.5 | 10.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:19:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 541.62 | 89.59 | 0 | 0 | 11.5 | 14.9 | 0 | 556.75 | 84.12 | 78.88 | 0 | 0 | 10.91 | 10.78 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 179.24 | 71.16 | 0 | 0 | 0 | 11.38 | 15.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:19:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 531.75 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 552.38 | 83.12 | 78.12 | 0 | 0 | 10.91 | 11.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 166.75 | 71.28 | 0 | 1.88 | 0 | 11.38 | 13.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:18:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 527.62 | 89.47 | 0 | 0 | 11.62 | 14.9 | 0 | 552.38 | 83.12 | 78.38 | 0 | 0 | 10.91 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 196.09 | 70.94 | 0 | 0 | 0 | 11.5 | 11.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:18:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 537.88 | 89.59 | 0 | 0 | 11.5 | 14.9 | 0 | 553.5 | 84 | 78.97 | 0 | 0 | 10.78 | 10.53 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.75 | 167.81 | 71.03 | 0 | 0 | 0 | 11.5 | 13.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:17:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 536.25 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 550.12 | 84.84 | 80.31 | 0 | 0 | 10.66 | 10.78 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.62 | 194.26 | 71.41 | 0 | 1.88 | 0 | 11.38 | 10.15 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:17:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 533.75 | 89.38 | 0 | 0 | 11.62 | 14.9 | 0 | 542 | 84.97 | 81.56 | 0 | 0 | 10.66 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 187.07 | 71.66 | 0 | 2.12 | 0 | 11.38 | 15.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:16:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 538.12 | 89.47 | 0 | 0 | 11.62 | 14.9 | 0 | 554.25 | 85.47 | 80.94 | 0 | 0 | 10.66 | 11.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501.75 | 170.24 | 71.66 | 0 | 0 | 0 | 11.38 | 20.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 70 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:16:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 531.12 | 89.72 | 0 | 0 | 11.75 | 14.9 | 0 | 550.12 | 85.22 | 80.09 | 0 | 0 | 10.66 | 10.53 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 167.11 | 71.66 | 0 | 0 | 0 | 11.38 | 18.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 70 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:15:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 528.62 | 89.72 | 0 | 0 | 11.62 | 14.9 | 0 | 550.12 | 85.69 | 79.84 | 0 | 0 | 10.78 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 170.28 | 71.91 | 0 | 0.62 | 0 | 11.28 | 19.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:15:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 529.62 | 89.59 | 0 | 0 | 11.5 | 14.9 | 0 | 547.38 | 85.09 | 79.47 | 0 | 0 | 10.78 | 10.66 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.62 | 167.47 | 71.66 | 0 | 0 | 0 | 11.38 | 11.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:14:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 523.25 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 560.88 | 85.22 | 79.22 | 0 | 0 | 10.78 | 10.66 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503 | 176.18 | 71.53 | 0 | 1.88 | 0 | 11.38 | 10.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:14:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 528.62 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 555.5 | 85.22 | 79.84 | 0 | 0 | 10.91 | 11.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.88 | 178.18 | 71.53 | 0 | 0 | 0 | 11.38 | 14.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:13:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 523.25 | 89.38 | 0 | 0 | 11.62 | 14.9 | 0 | 561.62 | 85.47 | 80.09 | 0 | 0 | 10.91 | 10.66 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.88 | 169.54 | 71.53 | 0 | 0 | 0 | 11.38 | 14.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:13:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 530.12 | 89.47 | 0 | 0 | 11.62 | 14.9 | 0 | 555.25 | 85.47 | 79.72 | 0 | 0 | 10.78 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 493.75 | 168.26 | 71.53 | 0 | 0 | 0 | 11.38 | 14.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:12:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 527.88 | 89.47 | 0 | 0 | 11.62 | 14.9 | 0 | 556.75 | 85.69 | 81.06 | 0 | 0 | 10.91 | 11.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.62 | 162.23 | 71.78 | 0 | 0 | 0 | 11.38 | 13.76 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:12:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 534 | 89.38 | 0 | 0 | 11.62 | 14.9 | 0 | 553.75 | 86.06 | 81.78 | 0 | 0 | 10.91 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.88 | 175.07 | 71.53 | 0 | 0 | 0 | 11.38 | 14.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:11:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 537.38 | 89.38 | 0 | 0 | 11.62 | 14.9 | 0 | 549.88 | 85.94 | 81.78 | 0 | 0 | 10.91 | 10.53 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.12 | 181.44 | 71.28 | 0 | 0 | 0 | 11.38 | 9.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:11:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 538.38 | 89.59 | 0 | 0 | 11.62 | 14.9 | 0 | 549.88 | 85.94 | 81.78 | 0 | 0 | 10.91 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 497.62 | 166.59 | 71.41 | 0 | 0 | 0 | 11.38 | 11.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:10:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 537.38 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 552.38 | 86.19 | 80.94 | 0 | 0 | 10.91 | 10.41 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.12 | 179.41 | 71.16 | 0 | 0 | 0 | 11.38 | 9.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:10:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 537.12 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 554 | 85.94 | 80.94 | 0 | 0 | 10.91 | 10.78 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 490.5 | 163.64 | 70.94 | 0 | 1.12 | 0 | 11.5 | 15.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:09:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 539.88 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 552.62 | 85.81 | 81.06 | 0 | 0 | 10.91 | 10.78 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 166.75 | 71.03 | 0 | 0 | 0 | 11.5 | 12.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:09:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.8 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 534.5 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 566.5 | 85.47 | 81.19 | 0 | 0 | 10.91 | 10.78 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492.5 | 167.47 | 70.94 | 0 | 0.38 | 0 | 11.5 | 14.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:08:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 537.12 | 89.25 | 0 | 0 | 11.5 | 14.9 | 0 | 557 | 85.81 | 80.81 | 0 | 0 | 10.91 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.88 | 169.13 | 70.94 | 0 | 0 | 0 | 11.5 | 15.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:08:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.8 | 15.1 | 15.2 | 15 | 537.38 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 554 | 85.47 | 81.19 | 0 | 0 | 10.91 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 496.12 | 191.16 | 71.03 | 0 | 0 | 0 | 11.5 | 11.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:07:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 539.62 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 559.12 | 85.34 | 81.91 | 0 | 0 | 11.03 | 10.91 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.38 | 166.72 | 71.16 | 0 | 0 | 0 | 11.5 | 13.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:07:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 527.62 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 547 | 85.94 | 82.03 | 0 | 0 | 11.03 | 11.75 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.5 | 169 | 71.28 | 0 | 1.88 | 0 | 11.5 | 13.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:06:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 539.62 | 89.38 | 0 | 0 | 11.5 | 14.9 | 0 | 553.5 | 85.81 | 81.06 | 0 | 0 | 11.03 | 10.66 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.62 | 164.48 | 71.41 | 0 | 0 | 0 | 11.5 | 15.69 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 80 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:06:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 538.12 | 89.59 | 0 | 0 | 11.5 | 14.9 | 0 | 553.25 | 86.19 | 81.56 | 0 | 0 | 11.03 | 11.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499.88 | 178.81 | 71.66 | 0 | 0 | 0 | 11.38 | 16.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:05:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 543 | 89.59 | 0 | 0 | 11.5 | 14.9 | 0 | 561.62 | 85.81 | 81.31 | 0 | 0 | 11.16 | 11.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.12 | 178.13 | 71.78 | 0 | 0 | 0 | 11.38 | 12.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:05:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 523.5 | 89.47 | 0 | 0 | 11.5 | 14.9 | 0 | 557.88 | 85.69 | 80.22 | 0 | 0 | 11.16 | 11.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.25 | 163.37 | 71.78 | 0 | 0 | 0 | 11.38 | 8.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:04:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 526 | 89.84 | 0 | 0 | 11.5 | 14.9 | 0 | 557.88 | 84.34 | 80.69 | 0 | 0 | 11.03 | 11.28 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.25 | 176.92 | 71.28 | 0 | 0 | 0 | 11.38 | 9.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:04:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 523.75 | 89.59 | 0 | 0 | 11.5 | 14.9 | 0 | 556.5 | 84 | 78.25 | 0 | 0 | 11.03 | 11.5 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.25 | 187.94 | 71.41 | 0 | 0 | 0 | 11.38 | 11.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:03:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 539.38 | 89.84 | 0 | 0 | 11.62 | 14.9 | 0 | 561.62 | 85.69 | 80.22 | 0 | 0 | 11.03 | 11.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 501 | 172.42 | 71.53 | 0 | 0 | 0 | 11.38 | 15.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:03:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 543.25 | 89.84 | 0 | 0 | 11.5 | 14.9 | 0 | 556.5 | 86.19 | 81.66 | 0 | 0 | 11.03 | 11.38 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.5 | 170.75 | 71.66 | 0 | 0 | 0 | 11.38 | 10.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:02:30 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 531.5 | 89.72 | 0 | 0 | 11.62 | 14.9 | 0 | 543.5 | 85.81 | 80.56 | 0 | 0 | 11.03 | 10.78 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502.25 | 171.95 | 71.78 | 0 | 0 | 0 | 11.38 | 15.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:02:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.1 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 535.5 | 89.84 | 0 | 0 | 11.62 | 14.9 | 0 | 562.12 | 85.56 | 79.34 | 0 | 0 | 11.16 | 11.16 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 169.45 | 72.03 | 0 | 0 | 0 | 11.38 | 13.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:01:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 540.62 | 89.97 | 0 | 0 | 11.62 | 14.9 | 0 | 557.88 | 84.72 | 79.22 | 0 | 0 | 11.16 | 11.38 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 492 | 173.27 | 72.16 | 0 | 0 | 0 | 11.38 | 11.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:01:00 +1H | 14.8 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 535.25 | 89.97 | 0 | 0 | 11.62 | 14.9 | 0 | 555.5 | 83.62 | 78.97 | 0 | 0 | 11.03 | 11.03 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.62 | 174.58 | 72.5 | 0 | 0 | 0 | 11.38 | 16.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:00:30 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 534.5 | 89.84 | 0 | 0 | 11.62 | 14.9 | 0 | 549.38 | 84.59 | 79.22 | 0 | 0 | 11.03 | 11.38 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.88 | 163.46 | 72.75 | 0 | 0 | 0 | 11.38 | 15.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0
2024-12-31 00:00:00 +1H | 14.9 | 14.5 | 14.9 | 14.7 | 15.2 | 15.6 | 14.9 | 15.5 | 14.9 | 15.1 | 15.2 | 15 | 526 | 89.84 | 0 | 0 | 11.62 | 14.9 | 0 | 557.88 | 85.09 | 79.72 | 0 | 0 | 11.03 | 11.38 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.38 | 166.72 | 72.88 | 0 | 1.88 | 0 | 11.38 | 12.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0 | 0 | 0